## Sheet1
Technical Specification
# | ITEM | SPECIFICATION | QUANTITY | BRAND | MODEL | Bider complainace to the Specs (Y/N) | Details of any Alternatives | Remarks
1 | SELF CLEANING FILTER | CAPACITY: 2M3/HR, END CONNECTION: 3/4" ,PORE SIZE: 100MIC. | 5
2 | ULTRA FILTERATION MEMBRANE | MAX. CAPACITY: 38 LPM, INLET & OUTLET CONNECTION: 1" | 5
3 | NaOCL DOSING PUMP | CAPACITY: 0 - 2.5 LPH & 7 BAR PRESSURE, POWER: 230 V 50Hz IP65, MAUAL ADJUSMENT 0-100%, ASS: LEVEL SWITCH, FOOT VALVE | 5
4 | UV BULB |  | 5
5 | PRESSURE GAUGE | PRESSURE RANGE: 0 - 7 BAR, DIAL SIZE: 2.5" | 10
6 | LEVEL SWITCH | TYPE: FLOAT DISK, FLOAT MOC: PP, CABLE LENGTH: 3 MTRS WITH ADJUSTABLE STOPER | 5
7 | BALL VALVE | SIZE: 1", MOC: PVC | 5
8 | FLOAT SWICTHES | TYPE: FLOAT DISK, FLOAT MOC: PP, CABLE LENGTH: 3 MTRS WITH ADJUSTABLE STOPER | 10
9 | FLOAT SWICTHES | TYPE: FLOAT DISK, FLOAT MOC: PP, CABLE LENGTH: 6 MTRS WITH ADJUSTABLE STOPER | 10
10 | PRESSURE SWITCHES | SIZE: 1.5", MOC: PVC | 5
11 | FOOT VALVES | SIZE: 90MM, MOC: PVC HIGH PRESSURE | 5
Delivered Equipments and Materials fullfill the Technical Specification
Name:
Company:
Date:
Sign: